## BOQ Sup & Serv
Bidders name | [6 empty] | Rev - R0
Offer Ref. Number
Offer Date
PRICE SCHEDULE - BILL OF QUANTITIES
Project: | OPGW installation on 765KV sasan – Vindhyachal PS 2XS/C lines which are proposed to be bypassed at vindhyanchal PS (Part A & Part B)
Line 1
Sr. No. | Item Description | Unit | Qnty. | Qnty. Spares | Total Qnty incl. spares | Quoted Unit Supply Price (Rs) | Quoted Total Supply Price (Rs) | Remarks
1 | 2 | 3 | 4 | 5 | 6=4+5 | 7 | 8 = 6 x 7
[1] | SUPPLY
1.1 | OPGW & ITS ACCESSORIES
1.1.1 | Design, Manufacturing & Supply of OPGW cable & Accessories
a) | 48 Fibers (DWSM) OPGW with minimum two (02) nos. of buffer tube(s) in Aluminium tube fiber optic cable | km | 7 |  | 7 |  | 0
1.2 | Hardware set for above 48 Fibers OPGW Fiber Optic cabling including all cable fittings & accessories
b) | Tension Assembly for Dead End Location (with 1 Flexible Alu. Bond & 1 Tension Assly) | Nos | 1 | 0 | 1 |  | 0
c) | Tension Assembly for Pass though Location (with 1 Flexible Alu. Bond & 2 Tension Assly) | Nos | 19 | 1 | 20 |  | 0
d) | Tension Assembly for Joint Box Location (with 2 Flexible Alu. Bond & 2 Tension Assly) | Nos | 2 | 1 | 3 |  | 0
e) | Single Suspension assembly | Nos | 1 | 1 | 2 |  | 0
f) | Down Lead clamp | Nos | 92 | 1 | 93 |  | 0
g) | Vibration Damper | Nos | 84 | 1 | 85 |  | 0
h) | Coil Bracket | Nos | 2 | 1 | 3 |  | 0
i) | Armor-rod for Vibration Damper | Nos | 84 | 1 | 85 |  | 0
j) | Optical fiber Approach Cable for SS | km | 0 | 0 | 0 |  | 0
k) | Joint Box for SS / Tapping Point (2 way / 3 way) | Nos | 0 | 0 | 0 |  | 0
l) | Joint box (48 Fibers) (2 way / 3 way) | Nos | 2 | 1 | 3 |  | 0
A | Total Basic Value for Supply | [5 empty] | 0
[2] | ERECTION AND SERVICES
2.1 | Installing & Stringing of OPGW including fixing of OPGW accessories in LIVE LINE condition of 765KV sasan – Vindhyachal PS 2XS/C lines and handing over GSW 7/3.66 and all accessories to Line Owner at their Store.
a) | Live Line Stringing for replacement of one (1) GSW 7/3.66 with One (1) 48F OPGW on 765KV sasan – Vindhyachal PS 2XS/C lines complete with all required tools and tackles. | kms | 5.89 | − | 5.89 |  | 0
2.2 | Installation of Joint box (48 Fibers) including jointing, testing etc. | Nos | 2 | − | 2 |  | 0
B | Total Basic Value for ERECTION AND SERVICES | [5 empty] | 0
| Total Basic Value | [5 empty] | 0
| GST Value @18% | [5 empty] | 0
| Total Value including GST | [5 empty] | 0